## Sheet1
No
SOLAR INSTALLED BASE
| Sr. No. | Site | State | MW (AC) | MW (DC) |  |  | Project Status | Commissioning Date | Operated by | Tracker |  |  |  | Inverter |  |  |  | SCB/SMB/String Inverter |  |  |  | Module | [30 empty] | Wp | [40 empty] | SCADA | GSS Name | Angle of tilt | Tracker ft Season | SPV Name | Lat & Long
[5 empty] | Planned | Actual | % |  |  |  | Planned | Status | % | Make | Make | Capacity (KW) | Quantity | Capacity (MW) | Type | Make | Nos | Monitoring Level | Type | Make | Total Module Capacity | Total Modules | 640 | 650 | 595 | 590 | 550 | 545 | 540 | 535 | 490 | 440 | 445 | 450 | 451 | 452 | 454 | 455 | 457 | 456 | 461 | 462 | 466 | 465 | 460 | 380 | 375 | 370 | 360 | 350 | 355 | 345 | 340 | 335 | 330 | 325 | 322.5 | 322 | 320 | 317.5 | 315 | 310 | 305 | 300 | 295 | 290 | 285 | 280 | 275 | 270 | 265 | 260 | 255 | 250 | 245 | 240 | 235 | 230 | 225 | 220 | 215 | 117.5 | 115 | 110 | 105 | 100 | 95 | 90 | 92.5 | 97.5 | Manufacturer
| Total |  |  | 5334.57 | 7147.3273 | 6756.4419 | 94.53% |  |  |  | 716.9752 | 716.4128 | 99.92% |  |  |  | 19016 | 5038.744 | [6 empty] | 6265.7792 | 16211223.6972 | 0% | 0.002527% | 0.2665% | 0.1363% | 0.4861% | 10.49% | 14.04% | 0.2708% | 0.002625% | 0.08512% | 0.9753% | 4.985% |  |  |  | 9.361% | [5 empty] | 1.722% | 3.023% | 0.2995% | 0% | 0% | 0% | 0% |  | 0.3999% | 0.4109% | 2.871% | 9.373% | 7.495% | 0.597% | 0% | 9% | 0.2622% | 4.736% | 3.514% | 0.7594% | 0% | 0% | 0% | 0% | 0% | 0% | 0.8255% | 4.115% | 2.35% | 0.3794% | 0.1044% | 0.2409% | 0.06532% | 0.002041% | 0% | 0% | 0% | 0.0001458% | 3.56% | 0% | 0% | 0% | 0.2625% | 1.402% | 0.4812% | 0.8453% | 0.7022%
| Total - Rajasthan |  |  | 2800 | 3862.5092 | 3488.3284 | 90.31% |  |  |  | 6.563 | 6.563 | 100% |  |  |  | 11622 | 2450.71 | [6 empty] | 2998.1695 | 6651978.6972 | 0 | 416 | 43860 | 22440 | 80004 | 1725795.6972 | 2310637 | 44572 | 432 | 14010 | 160538 | 820464 |  |  |  | 1540719 | [5 empty] | 283444 | 497566 | 49290 | 0 | 0 | 0 | 0 |  | 65814 | 67634 | 472514 | 1542683 | 1233602 | 98260 | 0 | 1481302 | 43160 | 779496 | 578462 | 124990 | 0 | 0 | 0 | 0 | 0 | 0 | 135866 | 677383 | 386731 | 62444 | 17184 | 39648 | 10752 | 336 | 0 | 0 | 0 | 24 | 585984 | 0 | 0 | 0 | 43200 | 230730 | 79200 | 139140 | 115575
| 1 | Lexicon | RJ | 10 | 11.3 | 11.3 | 100% | Stabilized | 2013-03-01 | Self | No |  |  |  | Schneider | 680 | 15 | 10 | SMB | Jackson |  | Central Inverter | Crystalline | Vikram Solar | 8.3369 | 34056 | [51 empty] | 7128 | 18888 | 7680 | 336 |  |  |  | 24 | [9 empty] | GE | PS3 132KV GRID SUB STATION GHATOR BAP (NEAR VILL.LUBHANIYA) | 24 (+,-2)° | Fixed Tilt | Lexicon Vanijya Private Limited | 27.4° N/72.3° E
|  |  | RJ | [6 empty] | Self | [13 empty] | Jinko | 3.003 | 9240 | [33 empty] | 9240
| 2 | Symphony | RJ | 10 | 11.3 | 11.3 | 100% | Stabilized | 2013-02-27 | Self | No |  |  |  | Schneider | 680 | 15 | 10 | SMB | Jackson |  | Central Inverter | Crystalline | Vikram Solar | 8.3375 | 33888 | [51 empty] | 10056 | 20760 | 3072 | [14 empty] | GE | PS3 132KV GRID SUB STATION GHATOR BAP (NEAR VILL.LUBHANIYA) | 24 (+,-3)° | Fixed Tilt | Symphony Vyapaar Private Limited | 27.4° N/72.3° E
|  | Symphony | RJ | [6 empty] | Self | [13 empty] | Jinko | 2.99 | 9200 | [33 empty] | 9200
| 3 | Star | RJ | 5 | 5.504 | 5.5 | 99.93% | Stabilized | 2015-07-14 | Self | No |  |  |  | Hitachi | 1250 | 4 | 5 | SMB | Trinity-touch |  | Central Inverter | Crystalline | Vikram Solar | 5.5047 | 17934 | [39 empty] | 6972 | 10962 | [27 empty] | Greenwave Solutions | RRVPNL Bhadla 220KV GSS | 23° | Fixed Tilt | Star Solar Power Private Limited | 27.5° N/72.4° E
| 4 | Sun | RJ | 5 | 5.4922 | 5.4922 | 100% | Stabilized | 2015-07-14 | Self | No |  |  |  | Hitachi | 1250 | 4 | 5 | SMB | Trinity-touch |  | Central Inverter | Crystalline | Vikram Solar | 5.5016 | 17892 | [39 empty] | 8904 | 8988 | [27 empty] | Greenwave Solutions | RRVPNL Bhadla 220KV GSS | 23° | Fixed Tilt | Sungold Energy Private Limited | 27.5° N/72.4° E
| 5 | SECI-110_Pokhran | RJ | 110 | 153.77 | 153.785 | 100% | Stabilized | 2021-03-11 | Self | 6.563 | 6.563 |  | Archtech | Huawei | 160 | 688 | 110.08 | String |  |  | String Inverter | Mono Perc | Jinko | 70.1908 | 151763 | [21 empty] | 75964 | 75799 | [45 empty] | Armax | PGCIL Fatehgarh-2 | 18° | Fixed Tilt | Renew Solar Energy (Jharakhand Five)Pvt Ltd | 26.66° N/71.27° E
|  |  | RJ | [19 empty] | Mono Perc | Longi | 70.6495 | 157876 | [10 empty] | 78938 | 78938
|  |  | RJ | [19 empty] | BiFacial | Jinko | 0.20384 | 448 | [15 empty] | 448
|  |  | RJ | [19 empty] | BiFacial | Longi | 12.5304 | 28232 | [6 empty] | 392 |  |  | 14010 | 13830
|  |  | RJ | [19 empty] | BiFacial | Trina Solar | 0.21168 | 432 | [8 empty] | 432
| 6 | SECI-III_Bhopa_Jaisalmer | RJ | 300 | 420.01 | 420.0149 | 100% | Stabilized | 2021-10-05 | Self | No |  |  |  | Sungrow | 200 | 1500 | 300 |  |  |  | String Inverter | Mono Perc | Jinko | 104.987 | 227024 | [18 empty] | 1792 | 616 | 1764 | 108472 | 114380 | [45 empty] | Greenwave Solutions | Renew sunwave pvt ltd ,bhopa, jaisalmer | 16° | Fixed Tilt | ReNew Sun wave Private Ltd | 26.66° N/71.26° E
|  |  | RJ | [19 empty] | Mono Perc | Longi | 314.997 | 696899 | [11 empty] | 413976 | 4823 | 548 | 1247 | 276305
| 7 | SECI-IV_Karada_Jaisalmer | RJ | 300 | 420.1419 | 420.1422 | 100% | Stabilized | 2021-12-09 | Self | No |  |  |  | Huawei | 160 | 1875 | 300 |  |  |  | String Inverter | Mono Perc | JA Solar | 369.7199 | 812118 | [11 empty] | 89434 |  |  |  | 589838 | 464 | 2370 |  |  |  |  | 130012 | [45 empty] | Adaptive | 220 / 765 KV Fatehgarh-II jaisalmer | 16° | Fixed Tilt | Renew Solar Energy (Jharakhand Three)Pvt Ltd | 26.64° N/71.37° E
|  |  | RJ | [19 empty] | Mono Perc | Longi | 28.2164 | 61956 | [15 empty] | 56680 | [6 empty] | 5276
|  |  | RJ | [19 empty] | Mono Perc | Trina Solar | 22.1298 | 48875 | [11 empty] | 25602 |  |  |  | 19332 | [6 empty] | 3941
| 8 | MSEDCL-II_Lala_Jaisalmer | RJ | 300 | 420.084 | 420.084 | 100% | Stabilized | 2021-11-15 | Self | No |  |  |  | Huawei | 160 | 1875 | 300 |  |  |  | String Inverter | Mono Perc | JA Solar | 244.9907 | 488540.6972 | [5 empty] | 77447.6972 | 181077 | [8 empty] | 161454 | [6 empty] | 68562 | [45 empty] | Greenwave Solutions | PGCIL FATEHGARH 2 | 16° | Fixed Tilt | ReNew Sun Bright Pvt. Ltd. | 26.62° N/71.35° E
[15 empty] | Huawei | [7 empty] | Mono Perc | Longi | 175.0933 | 385700 | [11 empty] | 80037 |  |  |  | 305663
| 9 | SECI-VI_Amarsar_Jaisalmer
| 10 | Bhadisid_1_Abha | RJ | 10 | 13.747 | 13.747 | 100% | Stabilized | 2017-10-17 | Self | No |  |  |  | TMEIC | 1000 | 10 | 10 | SCB | Solaris |  | Central Inverter | Crystalline | Vikram Solar | 13.7534 | 42880 | [34 empty] | 12720 |  | 30160 | [31 empty] | GE | 220Kv GSS Rvpnl badisid | 22° | Fixed Tilt | Abha Solar Farms Pvt Ltd | 27.47° N/72.40° E
| 11 | Bhadisid_1_Alok | RJ | 10 | 13.747 | 13.747 | 100% | Stabilized | 2017-12-06 | Self | No |  |  |  | TMEIC | 1000 | 10 | 10 | SCB | Solaris |  | Central Inverter | Crystalline | Vikram Solar | 13.7534 | 42880 | [34 empty] | 25640 |  | 4320 | 12920 | [30 empty] | GE | 220Kv GSS Rvpnl badisid | 22° | Fixed Tilt | Alok Solar Farms Pvt Ltd | 27.47° N/72.40° E
| 12 | Khetusar_1_Shreyas | RJ | 10 | 13.747 | 13.747 | 100% | Stabilized | 2017-11-17 | Self | No |  |  |  | TMEIC | 1000 | 10 | 10 | SCB | Solaris |  | Central Inverter | Crystalline | Vikram Solar | 13.755 | 43120 | [34 empty] | 8560 |  | 12960 | 17280 | 4320 | [29 empty] | GE | 132/33 kv GSS Khetusar GSS | 22° | Fixed Tilt | Shreyas Solar Farms Pvt Ltd | 27.40° N/72.40° E
| 13 | Khetusar_2_Shreyas | RJ | 10 | 13.747 | 13.747 | 100% | Stabilized | 2017-11-17 | Self | No |  |  |  | TMEIC | 1000 | 10 | 10 | SCB | Solaris |  | Central Inverter | Crystalline | Vikram Solar | 13.7577 | 42860 | [34 empty] | 25660 |  | 12880 |  | 4320 | [29 empty] | GE | 132/33 kv GSS Khetusar GSS | 22° | Fixed Tilt | Shreyas Solar Farms Pvt Ltd | 27.40° N/72.40° E
| 14 | Kanesar_1_Heramba | RJ | 10 | 13.747 | 13.747 | 100% | Stabilized | 2017-10-28 | Self | No |  |  |  | TMEIC | 1000 | 10 | 10 | SCB | Solaris |  | Central Inverter | Crystalline | Vikram Solar | 13.7531 | 43080 | [34 empty] | 12920 |  | 12880 | 8640 | 8640 | [29 empty] | GE | 220kv Gss rvpnl kanasar | 22° | Fixed Tilt | Heramba Renewables Ltd | 27.40° N/72.22° N
| 15 | Kanesar_2_Heramba | RJ | 10 | 13.747 | 13.747 | 100% | Stabilized | 2017-10-28 | Self | No |  |  |  | TMEIC | 1000 | 10 | 10 | SCB | Solaris |  | Central Inverter | Crystalline | Vikram Solar | 13.7427 | 42880 | [34 empty] | 12760 |  | 25800 | 4320 | [30 empty] | GE | 220kv Gss rvpnl kanasar | 22° | Fixed Tilt | Heramba Renewables Ltd | 27.40° N/72.22° N
| 16 | Bhadla | RJ | 50 | 74.9 | 75.9 | 101.3% | Stabilized | 2019-04-27 | Self | No |  |  |  | Huawei | 90 | 556 | 50.04 | String |  |  | String Inverter | Mono Perc | Jinko | 18.7302 | 49290 | [23 empty] | 49290 | [44 empty] | Adaptive | Adani PSS (Adani Solar park Bhadla) | 8° and 28° | Seasonal Tilt | ReNew Solar Power Pvt. Ltd. | 27.5°/71.94°
|  |  | RJ | [19 empty] | Crystalline | Znshine | 43.3042 | 131228 | [28 empty] | 162 |  |  | 8448 | 113146 | 9472
|  |  | RJ | [19 empty] | Crystalline | Renesola | 12.8765 | 39014 | [31 empty] | 384 | 38630
| 17 | Bikaner | RJ | 250 | 362.5119 | 362.511 | 100% | Stabilized | 2019-10-27 | Self | No |  |  |  | Huawei | 160 | 1563 | 250.08 | String |  |  | String Inverter | Crystalline | JA Solar | 18.0821 | 54848 | [31 empty] | 2144 | 47008 | 5696 | [34 empty] | Adaptive | 765/400 kV PGCIL GSS, Jamsar, Bikaner | 21° | Fixed Tilt | ReNew Solar Power Pvt. Ltd. | Parcel 1 28°18'44.83N/73°20'37.51 E Parcel 2 28°17'46.00"N/73°22'07.16"E
|  |  | RJ | [19 empty] | Crystalline | Jinko | 27.2018 | 81952 | [31 empty] | 31520 | 50432
|  |  | RJ | [19 empty] | Crystalline | Jinergy | 126.7334 | 381984 | [31 empty] | 162944 | 191840 | 27200
|  |  | RJ | [19 empty] | Crystalline | Znshine | 90.2191 | 272761 | [31 empty] | 41600 | 231161
|  |  | RJ | [19 empty] | Crystalline | Talesun | 36.3753 | 109559 | [31 empty] | 44160 | 65399
|  |  | RJ | [19 empty] | Crystalline | Risen | 63.9002 | 192496 | [31 empty] | 75298 | 117198
RJ | 83 | SECI-IX | RJ | 100 | 132.3 | 134.9067 | 102% | Under Stabilization | 2024-05-02 | Self | No |  |  |  | WattPower | 247 | 455 | 112.385 |  | Akshar Electric Panel Boards | 240 | String Inverter | Bifacial Crystalline | Goldi | 52.448 | 97126 | [6 empty] | 97126 | [61 empty] | Greenwave Solutions | 220/400 KV PGCIL Fatehgarh-3 |  | Fixed Tilt | ReNew Surya Vihaan Pvt Ltd. | 26.32°N/71.07°E
|  |  | RJ | [20 empty] | ReNew | 78.6094 | 144716 | [5 empty] | 92548 | 52168
RJ | 84 | SECI-IX-300 | RJ | 300 | 412.7132 | 407.0804 | 98.64% | Under Stabilization | 2024-06-08 | Self | No |  |  |  | WattPower | 275 | 677 | 186.175 |  | Akshar Electric Panel Boards |  | String Inverter | Mono Perc | ReNew | 140.2379 | 258332 | [5 empty] | 147726 | 110606 | [61 empty] | Greenwave Solutions | 220/400 KV PGCIL Fatehgarh-3 |  | Fixed Tilt | ReNew surya aayan pvt. Ltd. | 26.29 °N/71.11 °E
|  |  | RJ | [11 empty] | TBEA | 300 | 620 | 186 |  |  |  |  | Bifacial Crystalline | ReNew | 144.8808 | 266454 | [5 empty] | 199126 | 67328
|  |  | RJ | [19 empty] | Bifacial Crystalline | JA Solar | 125.8834 | 230621 |  |  |  |  | 39000 | 191621
RJ | 85 | SECI-IV_Hans Urja | RJ | 600 | 810 | 469 | 57.9% | Under Stabilization | 2024-07-28 | Self
RJ | 86 | RTC-400 | RJ | 400 | 540 | 508.83 | 98.64% | Under Stabilization | 2024-06-21 | Self | No |  |  |  | WattPower | 330 | 1715 | 565.95 |  | Akshar Electric Panel Boards |  | String Inverters | Bifacial Crystalline | Longi | 488.5779 | 901824 | [5 empty] | 354499 | 511408 | 35917 | [60 empty] | Adaptive | 220/400 KV PGCIL Fatehgarh-3 |  | Fixed Tilt | RENEW SURYA ROSHNI PRIVATE LIMITED | 26.57 °N/71.12 °E
| Total - Gujarat |  |  | 145 | 200.273 | 200.26 | 99.99% | [9 empty] | 697 | 145.12 | [6 empty] | 200.2741 | 483524
1 | 18 | Charanka | GJ | 40 | 48 | 48 | 100% | Stabilized | 2017-03-31 | Self | No |  |  |  | ABB | 1000 | 40 | 40 | SCB | Trinity-touch |  | Central Inverter | Crystalline | Trina Solar | 48.01 | 149920 | [33 empty] | 22208 |  |  | 112632 |  | 15080 | [29 empty] | Greenwave Solutions | 400KV GSS Charanka | 5° & 30° | Seasonal Tilt | Renew Solar Energy (KA-2) Pvt Ltd | 23.92° N/71.18° E
1 | 19 | GUVNL-105_Eval | GJ | 105 | 152.273 | 152.26 | 99.99% | Stabilized | 2021-04-10 | Self | No |  |  |  | Huawei | 160 | 657 | 105.12 |  |  |  | String Inverter | Mono Perc | Jinko | 91.8529 | 198604 | [21 empty] | 99008 | 99596 | [45 empty] | Greenwave Solutions | 400KV Charanka Sub station | 5° & 28° | Seasonal Tilt | ReNew Sun Energy Private Ltd | 23.90° N/71.20° E
|  |  | GJ | [19 empty] | Mono Perc | Longi | 60.4111 | 135000 | [10 empty] | 67770 | 67230
| Total - Madhya Pradesh |  |  | 101 | 126.3531 | 126.352 | 100% |  |  |  |  | 0 |  |  |  |  | 76 | 101 | [6 empty] | 126.3595 | 1193829
1 | 20 | Vijaypur | MP | 50 | 57.5 | 57.5 | 100% | Stabilized | 2015-11-27 | Self | No |  |  |  | Hitachi | 1250 | 40 | 50 | SCB | Busmann |  | Central Inverter | Thinfilm | First Solar | 57.5064 | 607845 | [63 empty] | 43200 | 230730 | 79200 | 139140 | 115575 | Mahindra Machinepulse | 132/33 KV MPPTCL Substation,Vijaypur | 22° | Fixed Tilt | Renew Solar Energy (TN) Pvt Ltd | 26°03'35.14'' N/77°19'16.57'' E
1 | 21 | AshokNagar | MP | 51 | 68.8531 | 68.852 | 100% | Stabilized | 2018-04-22 | Self | No |  |  |  | Sungrow | 1250 & 1500 | 36 | 51 | SCB | Solaris |  | Central Inverter | Thinfilm | First Solar | 68.8531 | 585984 | [59 empty] | 585984 | [8 empty] | ABB | Kotiya substation | 19° | Fixed Tilt | Renew Clean Energy Pvt. Ltd | 24.52° N/77.62° E
| Total - Karnataka |  |  | 430 | 516.4987 | 516.5771 | 100% |  |  |  | 363.8568 | 363.2928 | 99.84% |  |  |  | 1024 | 430.495 | [6 empty] | 516.5762 | 1598138
1 | 22 | Ittigi | KA | 50 | 59.68 | 59.68 | 100% | Stabilized | 2017-01-20 | Self | 59.68 | 59.68 | 100% | Archtech | ABB | 1000 | 48 | 50 | SMB | Statcon Energia |  | Central Inverter | Crystalline | Talesun | 59.6911 | 190974 | [38 empty] | 97838 | 93136 | [28 empty] | GE | 220/110/66/11KV Ittigi SUB STATION | 0° | Tracker | ReNew Saur Urja Pvt Ltd | 14.54° N/76.7° E
1 | 23 | Bhalki | KA | 20 | 22.77 | 22.77 | 100% | Stabilized | 2017-03-27 | Self | 22.77 | 22.77 | 100% | Mahindra Susten | ABB | 1000 | 20 | 20 | SCB | Trinity-touch |  | Central Inverter | Crystalline | Canadian Solar | 22.7729 | 70896 | [33 empty] | 24119 |  |  | 39889 |  | 6888 | [29 empty] | Greenwave Solutions | Ladha | 0° | Tracker | Renew Wind Energy (Karnataka 3) Private Limited | 18.08° N/77.13° E
1 | 24 | Siruguppa | KA | 20 | 22.436 | 22.436 | 100% | Stabilized | 2017-03-31 | Self | 22.436 | 22.4 | 99.84% | Ganges | Huawei | 43 | 465 | 19.995 | - | - |  | String Inverter | Crystalline | Canadian Solar | 22.4407 | 69760 | [33 empty] | 31037 |  |  | 31181 |  | 7542 | [29 empty] | ABB | 110/33/11 TEKKALAKOTA SUBSTATION | 0° | Tracker | Renew Agani Power Pvt. Ltd. | 15.51° N/76.91° E
1 | 25 | Aland | KA | 20 | 23 | 23.062 | 100.3% | Stabilized | 2017-03-31 | Self | 23 | 23 | 100% | Sunmount | Sungrow | 2500 | 8 | 20 | SCB | Solaris |  | Central Inverter | Crystalline | JA Solar | 23.0332 | 72093 | [36 empty] | 64785 |  | 7308 | [29 empty] | ABB | 110/11KV Kadaganchi | 0° | Tracker | Tarun Kiran Bhoomi Pvt. Ltd. | 17.46° N/76.74° E
1 | 26 | Humnabad | KA | 20 | 22.9 | 22.922 | 100.1% | Stabilized | 2017-03-31 | Self | 22.9 | 22.92 | 100.1% | Ganges | ABB | 1000 | 20 | 20 | SCB | Trinity-touch |  | Central Inverter | Crystalline | Trina Solar | 22.9436 | 71640 | [33 empty] | 10764 |  |  | 53876 |  | 7000 | [29 empty] | Greenwave Solutions | 110KV/11KV Nirna GSS | 0° | Tracker | Renew Wind Energy (KA-4) Pvt. Ltd. | 17.77° N/77.38° E
1 | 27 | Chincholi | KA | 20 | 23 | 22.9993 | 100% | Stabilized | 2017-04-28 | Self | 23 | 23 | 100% | Tata | TMEIC | 1000 | 20 | 20 | SCB | Trinity-touch |  | Central Inverter | Crystalline | JA Solar | 23.0093 | 71904 | [36 empty] | 71904 | [31 empty] | Greenwave Solutions | Chincholi 110kv | 0° | Tracker | ReNew Wind Energy (MP 4) Pvt. Ltd. | 17°24'10'3 N/77°23'06'6 E
1 | 28 | Maski | KA | 50 | 59.998 | 60 | 100% | Stabilized | 2017-05-26 | Self | 59.998 | 59.973 | 99.96% | Archtech | ABB | 1000 | 23 | 23 | SCB | Solaris |  | Central Inverter | Polycrystalline | Talesun | 59.8422 | 186685 | [33 empty] | 33537 |  |  | 140206 |  | 12942 | [29 empty] | Greenwave Solutions | 110/11 KV Maski substation | 0° | Tracker | ReNew Saur Urja Pvt. Ltd. | 15.09° N/76.57° E
|  |  | KA | [10 empty] | Archtech | Bonfiglioli | 2250 | 10 | 22.5 | [5 empty] | EMMVEE | 0.11503 | 362 | [36 empty] | 200 |  | 162
|  |  | KA | [11 empty] | TBEA | 1250 | 4 | 5
1 | 29 | Devadurga | KA | 20 | 22.7148 | 22.7148 | 100% | Stabilized | 2017-09-26 | Self | 22.7148 | 22.7148 | 100% | NexTracker | TMEIC | 1000 | 20 | 20 | SCB | Solaris |  | Central Inverter | Crystalline | Talesun | 22.7148 | 70680 | [33 empty] | 19440 |  |  | 51240 | [31 empty] | Greenwave Solutions | KPTCL 110KV Gabbur MUSS. | 0° | Tracker | Bhumi Prakash Pvt. Ltd. | 18.14° N/72.37° E
1 | 30 | Honahalli | KA | 20 | 24.0087 | 24.01 | 100% | Stabilized | 2017-11-11 | Self | No | 0 | 0 |  | TMEIC | 1000 | 20 | 20 | SCB | VNT |  | Central Inverter | Crystalline | Canadian Solar | 24.0085 | 73542 | [32 empty] | 23310 | 48384 |  |  | 1848 | [31 empty] | Greenwave Solutions | 66/11kv Kattige KPTCL | 11° | Fixed Tilt | ReNew Wind Energy (MP-3) Pvt. Ltd. | 14.22° N/75.56° E
1 | 31 | Yadgir | KA | 20 | 24.0496 | 24.04 | 99.96% | Stabilized | 2017-10-13 | Self | No | 0 |  |  | Schneider | 680 | 30 | 20 | SCB | Solaris |  | Central Inverter | Crystalline | Renesola | 24.0633 | 74886 | [33 empty] | 24990 |  |  | 44856 |  | 5040 | [29 empty] | Greenwave Solutions | 110KV/33KV/11KV Saidpur substation | 11° | Fixed Tilt | Renew Wind Energy (MH) Pvt. Ltd. | 16.64° N/77.20° E
1 | 32 | Turuvekere | KA | 20 | 23.9752 | 23.9735 | 99.99% | Stabilized | 2017-11-13 | Self | No | 0 |  |  | ABB | 1000 | 20 | 20 | SCB | Solaris |  | Central Inverter | Crystalline | Renesola | 23.8106 | 74072 | [33 empty] | 21512 |  |  | 52560 | [31 empty] | Greenwave Solutions | 110/11KV Sampige GSS | 11° | Fixed Tilt | ReNew Wind Energy (RJ-4) Pvt. Ltd. | 13.27° N/76.74° E
|  |  | KA | [19 empty] | Crystalline | Canadian Solar | 0.01365 | 42 | [33 empty] | 42
|  |  | KA | [19 empty] | Crystalline | Hareon | 0.13597 | 434 | [38 empty] | 285 | 149
|  |  | KA | [19 empty] | Crystalline | Longi | 0.01496 | 44 | [30 empty] | 44
| 33 | Pavagada | KA | 50 | 60.068 | 60.068 | 100% | Stabilized | 2017-12-14 | Self | 60.068 | 59.535 | 99.11% | NexTracker | Sungrow | 2500 | 20 | 50 |  |  |  | Central Inverter | Crystalline | Canadian Solar | 10.1849 | 31120 | [32 empty] | 14180 | 16940 | [34 empty] | Greenwave Solutions | Karnataka solar power development corporation limited, 220/66KV Substation SS-7, Rayacherulu vill, Pavagada (Taluk), Tumkur (Dist), Karnataka-572136 | 0° | Tracker | Renew Wind Energy (TN 2) Pvt Ltd. | 14.25° N/77.47° E
1 |  |  | KA | [15 empty] | SCB | VNT |  |  | Crystalline | Talesun | 30.264 | 93880 | [33 empty] | 44480 |  |  | 49400
|  |  | KA | [19 empty] | Crystalline | Longi | 19.0867 | 55740 | [29 empty] | 27030 | 28710
|  |  | KA | [19 empty] | Crystalline | Renesola | 0.5343 | 1644 | [33 empty] | 1644
| 34 | Wadagere | KA | 20 | 23.29 | 23.29 | 100% | Stabilized | 2017-12-30 | Self | 23.29 | 23.3 | 100% | NexTracker | Schneider | 680 | 30 | 20 | SCB | Solaris |  | Central Inverter | Crystalline | JA Solar | 23.289 | 71440 | [32 empty] | 18850 | 47950 |  |  | 4640 | [31 empty] | Greenwave Solutions | wadgera 110KV SS | 0° | Tracker | Renew Wind Energy Budh-3 Pvt. Ltd. | 16.60° N/77.02° E
| 35 | Nirna | KA | 20 | 24.0066 | 24.01 | 100% | Stabilized | 2018-03-09 | Self | 24 | 24 | 100% | NexTracker | Sungrow | 2520 | 8 | 20 | SCB | VNT |  | Central Inverter | Crystalline | JA Solar | 24.0061 | 73780 | [32 empty] | 5565 | 68162 |  |  | 53 | [31 empty] | Greenwave Solutions | Nirna 110/11KV Substation KPTCL | 0° | Tracker | Renew Wind Energy Budh-3 Pvt. Ltd. | 17.71° N/77.33° E
| 36 | Eklara | KA | 20 | 26.9893 | 26.989 | 100% | Stabilized | 2018-03-31 | Self | No |  |  |  | Sungrow | 2520 | 8 | 20 | SCB | VNT |  | Central Inverter | Crystalline | Hanwha | 26.9893 | 83000 | [32 empty] | 11540 | 62780 |  |  | 8680 | [31 empty] | Greenwave Solutions | Santhpur 110/33/11 kV | 13° | Fixed Tilt | Renew Wind Energy (KA-4) Pvt. Ltd. | 18.18°N/77.44° E
| 37 | Navalgunda | [6 empty] | 2019-10-23 | [49 empty] | 82048 | [35 empty] | Greenwave Solutions | 110/11kv sub station navalgund | (7,2) &22° | Seasonal Tilt | Nokor Bhoomi Private Limited | 15.50° N/75.37° E
| 38 | Bableshwar | [6 empty] | 2019-10-24 | [48 empty] | 26016 | 57408 | [35 empty] | Greenwave Solutions | Bableshwer 110Kv/11Kv | 2&7/22° | Seasonal Tilt | Vivasvat Solar Energy Private Limited | 16°37'22.7" N/75°33'13.0" E
| 39 | Bailhongal | [6 empty] | 2019-10-27 | [49 empty] | 80448 | [35 empty] | Greenwave Solutions | Udiker 110Kv/11kv | 2&7/22° | Seasonal Tilt | Nokor Solar Energy Private Limited | 15.72° N/74.97° E
| 40 | Gadag | KA | 20 | 27.0125 | 27.0125 | 100% | Stabilized | 2019-10-31 | Self | No |  |  |  | Huawei | 165 | 125 | 20 |  |  |  | String Inverter | Crystalline | Znshine | 27.0125 | 81856 | [32 empty] | 81856 | [35 empty] | Greenwave Solutions | 110/33/11kv sub station KPTCL Dambal | (7,2),22° | Seasonal Tilt | Akilgaya solar energy private limited | 15.36° N/75.75° E
| 41 | Kalaghati | [6 empty] | 2019-11-11 | [48 empty] | 80000 | [36 empty] | Greenwave Solutions | 110kv dastikoppa | (7,2),22° | Seasonal Tilt | Abha Sunlight Private Limited | 15.16° N/75.01° E
| 42 | Bilagi | KA | 20 | 26.6 | 26.6 | 100% | Stabilized | 2019-11-02 | Self | No |  |  |  | Huawei | 165 | 125 | 20 |  |  |  | String Inverter | Crystalline | Znshine | 26.5997 | 77664 | [29 empty] | 38784 | 38880 | [37 empty] | Greenwave Solutions | KPTCL Shiraguppi 110KV | 7/22° | Seasonal Tilt | ReNew Solar Power Private Limited | 16.26° N/75.55° E
| 43 | Gokak | [6 empty] | 2019-11-08 | [49 empty] | 82944 | [35 empty] | Greenwave Solutions | Yadwad 110kv/11kv | 2&7/22° | Seasonal Tilt | Izra Solar energy Private Limited | 16.21° N/75.14°E
| Total - Telangana |  |  | 560 | 696.1942 | 695.1483 | 99.85% |  |  |  | 343.3554 | 343.357 | 100% |  |  |  | 575 | 560 | [6 empty] | 696.1742 | 2184873
| 44 | Mehbubnagar | TL | 100 | 120 | 120 | 100% | Stabilized | 2016-06-30 | Self | No |  |  |  | TMEIC | 750 | 134 | 100 | SMB | Trinity-touch |  | Central Inverter | Crystalline | Hanwha | 119.9873 | 383840 | [38 empty] | 199380 | 184460 | [28 empty] | Mahindra Machinepulse | 220/400kV grid substation, veltoor 400kV TSTRANSCO. | 12° | Fixed Tilt | Renew Akshay Urja Pvt. Ltd. | 16.53° N/77.93° E
| 45 | Sadashivpeth | TL | 24 | 28.8 | 28.81 | 100% | Stabilized | 2016-06-05 | Self | No |  |  |  | TMEIC | 750 | 32 | 24 | SMB | Trinity-touch |  | Central Inverter | Crystalline | Hanwha | 28.8097 | 92736 | [38 empty] | 12306 | 80430 | [28 empty] | TAS | 132KV Sadasivpet GSS | 14° | Fixed Tilt | Renew Akshay Urja Pvt. Ltd. | 17.32° N/77.57° E
| 46 | Mandamarri | TL | 48 | 57.427 | 57.427 | 100% | Stabilized | 2017-02-21 | Self | 57.427 | 57.427 | 100% | Archtech | TMEIC | 1000 | 48 | 48 | SMB | Solaris |  | Central Inverter | Crystalline | Hareon | 57.4279 | 182196 | [36 empty] | 35492 |  | 118438 | 28266 | [28 empty] | Greenwave Solutions | Mandamarri,Telangana Transmission Corporation limited | 45° | Tracker | Renew Mega Solar Power Pvt Ltd | 18.98° N/79.45° E
| 47 | Mulkanoor | TL | 30 | 36.1805 | 36.181 | 100% | Stabilized | 2017-06-11 | Self | 36.1805 | 36.18 | 100% | Sunmount & Scorpious | TMEIC | 1000 | 30 | 30 | SMB | Solaris |  | Central Inverter | Crystalline | JA Solar | 36.1805 | 113064 | [36 empty] | 113064 | [31 empty] | GE | Transmission corporation of Telangana Limited 132/33 KV sub-station, Mulkanoor | 0° | Tracker | ReNew Saur Shakti Pvt Ltd | 18.11° N/79.33° E
| 48 | Dichipally | TL | 143 | 171.75 | 170.6975 | 99.39% | Stabilized | 2017-07-12 | Self | 171.75 | 171.76 | 100% | Archtech | SMA | 1100 | 130 | 143 | SMB | Solaris |  | Central Inverter | Crystalline | Hareon | 171.7548 | 540939 | [33 empty] | 63966 |  |  | 191016 |  | 238812 | 47145 | [28 empty] | Rockwell | 400/220 kV SS Dichipally | 0° | Tracker | Renew Solar Energy (TG) Pvt. Ltd | 18.38° N/78.24° E
| 49 | Minpur | TL | 65 | 77.9978 | 77.994 | 100% | Stabilized | 2017-05-29 | Self | 77.9978 | 77.99 | 99.99% | Archtech | TMEIC | 1000 | 65 | 65 | SCB | Trinity-touch |  | Central Inverter | Crystalline | Canadian Solar | 77.9948 | 243138 | [33 empty] | 71323 |  |  | 138620 |  | 33195 | [29 empty] | ABB | Minpur 220/132/33kV substation | 0° | Tracker | Renew Saur Shakti Pvt Ltd | 17.96° N/78.05° E
| 50 | Mehbubnagar 2 | TL | 100 | 135.0288 | 135.0288 | 100% | Stabilized | 2017-11-01 | Self | No |  |  |  | GE | 1000 | 30 | 30 | SCB | Solaris | 320 | Central Inverter | Crystalline | Canadian Solar | 120.1161 | 368520 | [32 empty] | 97620 | 242700 |  |  | 28200 | [31 empty] | GE | Veltoor 400/220kv substation | 12° | Fixed Tilt | ReNew Wind Energy (TN 2) Pvt Ltd | 16.52° N/77.90° E
|  |  | TL | [11 empty] | Sungrow | 1250 | 56 | 70 |  | Trinity-touch | 480 |  |  | Risen | 14.8932 | 46440 | [33 empty] | 6480 |  |  | 39960
| 51 | Wanaparthy_Prathamesh | TL | 50 | 69.01 | 69.01 | 100% | Stabilized | 2017-09-20 | Self | No |  |  |  | TMEIC | 1000 | 50 | 50 | SCB | Solaris | 710 | Central Inverter | Crystalline | JA Solar | 69.01 | 214000 | [33 empty] | 106000 |  |  | 108000 | [31 empty] | GE | 220/132KV Wanaparthy substation | 12° | Fixed Tilt | Prathmesh Solar Farms Ltd | 16.42° N/78.07° E
| Total - Telangana | Tamil Nadu |  | 100 | 110 | 110 | 100% | [9 empty] | 541 | 100.085 | [6 empty] | 110.0022 | 336436
| 52 | Kottali | TN | 100 | 110 | 110 | 100% | Stabilized | 2019-09-20 | Self | No |  |  |  | Huawei | 185 | 541 | 100.085 |  |  |  | String Inverter | Crystalline | Talesun | 62.8868 | 191652 | [32 empty] | 119976 | 71676 | [34 empty] | Greenwave Solutions | 400/230-110 kV Thennampatti Substation | 6° | Fixed Tilt | ReNew Solar Energy (Rajasthan) Private Limited | 8.91° N/77.83°
|  |  | TN | [6 empty] | Self | [13 empty] | Renewsys | 47.1154 | 144784 | [32 empty] | 12124 | 132660
| Total - Telangana | Andhra Pradesh |  | 60 | 72 | 72 | 100% |  |  |  | 3.2 | 3.2 | 100% |  |  |  | 83 | 60 | [6 empty] | 72.0272 | 234040
| 53 | Adoni | AP | 39 | 46.8 | 46.8 | 100% | Stabilized | 2016-03-04 | Self | No |  |  |  | TMEIC | 750 | 52 | 39 | SMB | Trinity-touch |  | Central Inverter | Crystalline | Hareon | 46.8044 | 152080 | [39 empty] | 84000 | 68080 | [27 empty] | Mahindra Machinepulse | 132/33kv Adoni APSDPDCL substation. | 12° | Fixed Tilt | Renew Solar Energy (Karnataka) Pvt Ltd | 15.52° N/77.26° E
| 54 | Cumbum | AP | 21 | 25.2 | 25.2 | 100% | Stabilized | 2016-03-08 | Self | 3.2 | 3.2 | 100% | Meca Solar | Schneider | 680 | 31 | 21 | SMB | Trinity-touch |  | Central Inverter | Crystalline | Hareon | 25.2228 | 81960 | [39 empty] | 45000 | 36960 | [27 empty] | GE | CUMBUM 132/33 kV GSS | 11° & Tracker + or - 40° | Fixed&Tracker | Renew Solar Energy (Karnataka) Pvt Ltd | 15.64° N/79.25° E
| Total - Telangana (ACME Plants) |  |  | 260 | 332.7103 | 332.6957 | 100% | [9 empty] | 188 | 260 | [6 empty] | 332.6636 | 1262424
TL | 55 | Manthani | ACME-TL | 15 | 19.72 | 19.72 | 100% | Stabilized | 2017-02-23 | Self | No |  |  |  | TBEA | 1250 | 12 | 15 |  |  |  | Central Inverter | Crystalline | Risen | 19.714 | 75504 | [48 empty] | 30504 | 31080 | 13920 | [17 empty] | Dynamic Engineers | 132/33 KV TSTRANSCO manthani substation | 3,25° | Seasonal Tilt | PURVANCHAL SOLAR POWER PRIVATE LTD | 18.68° N/79.62° E
TL | 56 | Lingampet | ACME-TL | 15 | 19.318 | 19.319 | 100% | Stabilized | 2017-03-23 | Self | No |  |  |  | TBEA | 1250 | 12 | 15 |  |  |  | Central Inverter | Crystalline | BYD | 19.2966 | 74520 | [49 empty] | 58800 | 15720 | [17 empty] | Dynamic Engineers | 132/33 KV GSS Lingampet | 3,25° | Seasonal Tilt | ReNew NARWANA SOLAR POWER PVT LTD | 18.28° N/78.11° E
TL | 57 | KalwaSrirampur | ACME-TL | 15 | 19.3549 | 19.3549 | 100% | Stabilized | 2017-03-02 | Self | No |  |  |  | TBEA | 1250 | 12 | 15 |  |  |  | Central Inverter | Crystalline | Risen | 14.5626 | 55728 | [48 empty] | 33912 | 2568 | 19248 | [17 empty] | Dynamic Engineers | 132/33 KV TSTRANSCO Kalwasrirampur Substation | 3,25° | Seasonal Tilt | ReNew Karimnagar solar power pvt ltd | 18.52° N/79.55° E
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | TBEA | [8 empty] | BYD | 4.7923 | 18432 | [49 empty] | 18432
TL | 58 | Mallaram | ACME-TL | 15 | 19.4727 | 19.4717 | 99.99% | Stabilized | 2017-03-11 | Self | No |  |  |  | TBEA | 1250 | 8 | 10 |  |  |  | Central Inverter | Crystalline | GCL | 19.4724 | 73056 | [47 empty] | 24696 | 46176 | 2184 | [18 empty] | Dynamic Engineers | 132/33KV MALLARAM TSTRANSCO SUBSTATION | 3,25° | Seasonal Tilt | ReNew WARANGAL SOLAR POWER PRIVATE LIMITED | 18.56° N/78.85° E
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | Sungrow | 1250 | 4 | 5 | [6 empty] | 0 | 0
TL | 59 | Jangaon | ACME-TL | 15 | 16.7224 | 16.7224 | 100% | Stabilized | 2017-08-09 | Self | No |  |  |  | TBEA | 1250 | 12 | 15 |  |  |  | Central Inverter | Crystalline | Risen | 6.4556 | 24600 | [48 empty] | 11928 | 12672 | [18 empty] | Dynamic Engineers | 220/132/33Kv Jangaon Sub Station | 3,25° | Seasonal Tilt | Rewanchal Solar Power Plant Pvt Ltd | 17.72° N/79.14° E
TL | [9 empty] | Self |  |  |  |  | TBEA | [8 empty] | BYD | 10.2672 | 39096 | [48 empty] | 20448 | 18648
TL | 60 | Godhur | ACME-TL | 15 | 19.4659 | 19.4682 | 100% | Stabilized | 2017-03-25 | Self | No |  |  |  | TBEA | 1250 | 12 | 15 |  |  |  | Central Inverter | Crystalline | Talesun | 19.4657 | 73944 | [48 empty] | 48048 | 25896 | [18 empty] | Dynamic Engineers | 132/33kv Godhur susbtation | 3,25° | Seasonal Tilt | Neemuch Solar Power Pvt Ltd | 18.78° N/78.63° E
TL | 61 | Nandipet | ACME-TL | 15 | 19.4054 | 19.4055 | 100% | Stabilized | 2017-03-25 | Self | No |  |  |  | TBEA | 1250 | 12 | 15 |  |  |  | Central Inverter | Crystalline | Risen | 19.4063 | 74832 | [48 empty] | 3456 | 57912 | 13464 | [17 empty] | Dynamic Engineers | 132/33 kV Nandipet S/S | 3 &15 ,25° | Seasonal Tilt | ReNew FAZILKA POWER PVT LTD | 18.86° N/78.18° E
TL | 62 | Siricilla | ACME-TL | 30 | 37.2325 | 37.2369 | 100% | Stabilized | 2017-06-06 | Self | No |  |  |  | TBEA | 1250 | 24 | 30 |  |  |  | Central Inverter | Crystalline | BYD | 37.2335 | 141096 | [48 empty] | 109704 | 31392 | [18 empty] | IPLON | 220/132/33kv GSS peddur TS Transco | 3,25° | Seasonal Tilt | ReNew Rangareddy solar power pvt.ltd | 18.37° N/78.76° E
TL | 63 | Medak | ACME-TL | 45 | 58.4526 | 58.4313 | 99.96% | Stabilized | 2017-07-14 | Self | No |  |  |  | TBEA | 1250 | 36 | 45 |  |  |  | Central Inverter | Crystalline | Talesun | 19.4434 | 73704 | [48 empty] | 56077 | 17627 | [18 empty] | IPLON | Medak 132KV Substation | 3,25° | Seasonal Tilt | ReNew Medak Solar Energy Pvt Ltd | 18.15° N/78.29° E
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | TBEA | [8 empty] | BYD | 6.6087 | 25418 | [49 empty] | 25418
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | TBEA | [8 empty] | GCL | 32.3801 | 121006 | [47 empty] | 62705 | 58301
TL | 64 | Nirmal | ACME-TL | 50 | 64.6276 | 64.6276 | 100% | Stabilized | 2017-09-15 | Self | No |  |  |  | Sungrow | 2500 | 20 | 50 |  |  |  | Central Inverter | Crystalline | GCL | 32.3725 | 121246 | [47 empty] | 48460 | 72786 | [19 empty] | Dynamic Engineers | 220/132kv SS Akkapur | 3,25° | Seasonal Tilt | ReNew Nizamabad Solar Energy Private Limited | 19.13° N/78.25° E
|  |  | ACME-TL | [6 empty] | Self |  |  |  |  | Sungrow | [8 empty] | BYD | 0.02346 | 92 | [50 empty] | 92
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | Sungrow | [8 empty] | Talesun | 32.2306 | 122094 | [47 empty] | 5 | 97219 | 24870
TL | 65 | Jagtial | ACME-TL | 30 | 38.9382 | 38.9382 | 100% | Stabilized | 2017-11-16 | Self | No |  |  |  | TBEA | 1250 | 24 | 30 |  |  |  | Central Inverter | Crystalline | Talesun | 19.5475 | 74112 | [48 empty] | 55680 | 18432 | [18 empty] | Adaptive | 132/33 KV Sub Station , Jagtial , TSTRANSCO | 3,25° | Seasonal Tilt | Sun World Solar Power Private Limited | 18.82° N/79.10° E
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | TBEA | [8 empty] | BYD | 14.9646 | 57240 | [48 empty] | 16440 | 40800
TL |  |  | ACME-TL | [6 empty] | Self |  |  |  |  | TBEA | [8 empty] | Yingli | 4.4266 | 16704 | [48 empty] | 16704
| Total - B2B | B2B |  | 878.57 | 1230.7889 | 1215.0804 | 98.72% | [9 empty] | 4210 | 931.334 | [6 empty] | 1213.5327 | 2265981
MH | 66 | Welturi | B2B | 20 | 28 | 28.0015 | 100% | Stabilized | 2021-12-09 | Self | No |  |  |  | Sungrow | 200 | 99 | 19.8 |  |  |  | String Inverter | Monoperc-Half cut Cell | Longi | 28.0058 | 61770 | [11 empty] | 19912 |  |  |  | 41858 | [52 empty] | Trinity | Aranhvira Substation | 11° | Fixed Tilt | Renew Surya Alok Private Limited | 19.07° N/74.98° E
GJ | 67 | Motigop_Ph1_Grasim_India | B2B | 6.67 | 9.3369 | 9.3369 | 100% | Stabilized | 2022-02-03 | Self | No |  |  |  | Sungrow | 200 | 34 | 6.8 | String inverter | Sungrow | 34 | String Inverter | Polycrystalline | Longi | 9.3369 | 20600 | [11 empty] | 7218 |  |  |  | 13382 | [52 empty] | Adaptive | Renew babriya hybrid | 14° | Fixed Tilt | Renew Surya Uday Pvt Ltd | 22.01° N/69.86° E
| 68 | Bikaner_Merchant_Ph1 | B2B | 150 | 210.05 | 210.05 | 100% | Under Stabilization | 2022-02-25 | Self | No |  |  |  | Sungrow | 200 | 750 | 150 | String inverter | Sungrow | 750 | String Inverter | Monocrystalline | JA solar | 140.9025 | 260067 | [5 empty] | 93260 | 166807 | [61 empty] | Adaptive | Power grid bikaner 2 | 16° | Fixed Tilt | ReNew Surya Ravi Private Limited | 28.29° N/73.24° E
[15 empty] | Sungrow | [7 empty] | Monocrystalline | Longi | 68.6393 | 126663 | [5 empty] | 48250 | 78413
[15 empty] | Sungrow | [7 empty] | Monocrystalline | Trina Solar | 0.2704 | 416 |  | 416
MH | 69 | Welturi_Ph2 | B2B | 5 | 6.999 | 7.0031 | 100.1% | Stabilized | 2022-03-25 | Self | No |  |  |  | Sungrow | 200 | 25 | 5 |  |  |  | String Inverter | Monoperc-Half cut Cell | Longi | 6.999 | 15454 | [11 empty] | 6514 |  |  |  | 8940 | [52 empty] | Trinity | Aranhvira Substation | 12° | Fixed Tilt | Renew Surya Kiran Pvt ltd | 19.08° N/74.99° E
MH | 70 | Bandarwada_Ph1 | B2B | 43 | 60.104 | 60.104 | 100% | Stabilized | 2022-03-31 | Self | No |  |  |  | Sungrow | 200 | 215 | 43 | String Inverter | Sungrow | 215 | String Inverter | Monoperc-Half cut Cell | JA Solar | 14.6881 | 27167 | [5 empty] | 3583 | 23584 | [61 empty] | Adaptive | 132 KV Pathri Sub Station | 11° | Fixed Tilt | Renew Sunlight Energy Private Limited | 19.31° N/76.46° E
[15 empty] | Sungrow | [7 empty] | Monoperc-Half cut Cell | Longi | 44.624 | 98422 | [11 empty] | 31603 |  |  |  | 66819
[15 empty] | Sungrow | [7 empty] | Bifacial Crystalline | Longi | 0.85172 | 1592 | [7 empty] | 1592
MH | 71 | Bandarwada_Ph2 | B2B | 7 | 9.837 | 9.8375 | 100% | Stabilized | 2022-03-31 | Self | No |  |  |  | Sungrow | 200 | 35 | 7 |  |  |  | String Inverter | Monoperc-Half cut Cell | JA Solar | 9.8375 | 18128 | [5 empty] | 9676 | 8452 | [61 empty] | Adaptive | 132 KV Pathri Sub Station | 11° | Fixed Tilt | Renew Sunshakthi Private Limited | 19.31° N/76.46° E
GJ | 72 | Motigop_Ph2_Maruti Suzuki | B2B | 13.34 | 18.688 | 18.685 | 99.98% | Under Stabilization | 2022-04-29 | Self | No |  |  |  | Huawei | 185 | 73 | 13.505 | String inverter | Huawie | 73 | String Inverter | Polycrystalline | JA Solar | 18.688 | 34448 | [5 empty] | 17222 | 17226 | [61 empty] | Trinity | Renew babriya hybrid | 11° | Fixed Tilt | Renew Ravi Tejas Pvt. Ltd | 22.01° N/69.86° E
GJ | 73 | Kagwad | B2B | 11.67 | 15.685 | 15.6854 | 100% | Stabilized | 2022-08-24 | Self | No |  |  |  | Huawei | 185 | 64 | 11.84 | String Inverter | Huawei | 64 | String Inverter | Crystalline | JA Solar | 15.6854 | 28910 | [5 empty] | 14801 | 14109 | [61 empty] | Armax | 220KV Gondal Sub-Station | 11° | Fixed Tilt | Greenyana Sunstream Pvt. Ltd., Ostro Alpha Wind Pvt. Ltd. | 22.02° N/70.64° E | 5820 | 5824 | 5760 | L065 | 57606011OM | 58206002OM
MH | 74 | Hasapur_Ph2_1 | B2B | 16.5 | 23.14 | 23.1431 | 100% | Stabilized | 17.12.2022 | Self | No |  |  |  | Sungrow | 200 | 83 | 16.6 | String Inverter | Sungrow | 83 | String Inverter | Monoperc-Half cut Cell | WAAREE | 14.8662 | 27530 | [6 empty] | 27530 | [61 empty] | Greenwave Solutions | Hasapur 132KV LILO Substation | 9° | Fixed Tilt | Renew Bhanu Sakthi Pvt Ltd | 17.56° N/76.17° E
|  |  | B2B | [6 empty] | Self | No |  |  |  | Sungrow | [7 empty] | Monoperc-Half cut Cell | EMMVEE | 3.8599 | 7148 | [6 empty] | 7148
|  |  | B2B | [6 empty] | Self | No |  |  |  | Sungrow | [7 empty] | Monoperc-Half cut Cell | Vikram Solar | 4.0631 | 8106 |  |  |  |  | 638 | 6076 | 1392
MH | 75 | Hasapur_Ph1 | B2B | 15.5 | 21.707 | 21.7065 | 100% | Under Stabilization | 17.12.2022 | Self | No |  |  |  | Huawei | 185 | 84 | 15.54 | String Inverter | Huwaei | 84 | String Inverter | Monoperc-Half cut Cell | JA Solar | 21.7065 | 40012 | [5 empty] | 20006 | 20006 | [61 empty] | Greenwave Solutions | Hasapur 132KV LILO Substation | 9° | Fixed Tilt | Renew Surya Spark Pvt Ltd | 17.56° N/76.17° E
MH | 76 | Kekatpur_1 | B2B | 15 | 21 | 20.9989 | 99.99% | Stabilized | 2023-02-09 | Self | No |  |  |  | Sungrow | 200 | 75 | 15 |  |  |  | String Inverter | Mono Perc | WAAREE | 3.5672 | 6606 | [6 empty] | 6606 | [61 empty] | Adaptive | 220 KV Dawargaon Nandgaon Peth Substaion | 11° | Fixed Tilt | Renew Sun Renewables Pvt. Ltd | 21.09° N/77.95° E
|  |  | B2B | [11 empty] | Sungrow | [7 empty] | Mono Perc | Goldi | 17.4344 | 32286 | [6 empty] | 32286
GJ | 77 | Otha | B2B | 68.36 | 95.729 | 95.725 | 100% | Under Stabilization | 2023-06-09 | Self | No |  |  |  | Sineng | 200 | 25 | 5 | String Inverters | Sineng 200 KW | 25 | String Inverter | Mono Perc | WAAREE | 10.2751 | 19028 | [6 empty] | 19028 | [61 empty] | Armax | 220kv Otha | 12° | Fixed Tilt | Renew Surya Uday Pvt. Ltd._SPV 1 Renew Ravi Tejas Pvt. Ltd._SPV 2 Renew Green (GJS One ) Pvt. Ltd._SPV 3 Renew Green (GJS Two ) Pvt. Ltd._SPV 4 Renew Green (GJS Three ) Pvt. Ltd._SPV 5 Renew Green (GJS Four ) Pvt. Ltd._SPV 6 Renew Green (GJS Five ) Pvt. Ltd._SPV 7 | 21.19° N/71.88° E
|  |  | B2B | [11 empty] | Sungrow | 200 | 316 | 63.2 | String Inverters | Sungrow 200 KW | 316 |  | Mono Perc | Goldi | 76.1551 | 141028 | [6 empty] | 141028
|  |  | B2B | [19 empty] | Mono Perc | Vikram Solar | 9.2923 | 17144 | [5 empty] | 6915 | 10229
RJ | 78 | Bikaner_Merchant_Ph2 | B2B | 150 | 208 | 208 | 100% | Under Stabilization | 2023-04-06 | Self | No |  |  |  | TBEA | 220 | 455 | 100.1 | String Inverters | sineng | 250 | String Inverter | Mono Crystalline | JA Solar | 161.1295 | 298388 | [6 empty] | 298388 | [61 empty] | Adaptive | Power grid bikaner 2 | 16° | Fixed Tilt | ReNew Surya Ravi Private Limited | 28.29° N/73.24° E
|  |  | B2B | [11 empty] | Sineng | 200 | 250 | 50 |  | TBEA | 455 |  | Bifacial Crystalline | JA Solar | 44.55 | 82500 | [6 empty] | 82500
KA | 79 | Kudligi_Ph1 | B2B | 47 | 64.2 | 64.203 | 100% | Under Stabilization | 2023-06-06 | Self | No |  |  |  | TBEA | 220 | 214 | 47.08 | String Inverters | TBEA | 214 | String Inverter | Bifacial Crystalline | JA Solar | 64.2028 | 118510 | [5 empty] | 41480 | 77030 | [61 empty] | Armax | 220/66/11kv Badladaku Substation, Kudligu | 9° | Fixed Tilt | SPV-1 : Renew Sandur Green Energy Private Limited SPV-2 : Renew Green (KAK-2) Energy Private Limited | 14.85° N/76.43° E | 7630 | 7630 | 5760 | L079 | 57610042OM | 76310000OM
GJ | 80 | Otha_Ph2 | B2B | 69.43 | 97.293 | 97.226 | 99.93% | Under Stabilization | 2023-06-18 | Self | No |  |  |  | TBEA | 220 | 222 | 48.84 | String Inverters | TBEA | 318 | String Inventer | Mono Perc | JA Solar | 64.8838 | 119175 |  |  |  |  | 14768 | 76326 | 28081 | [61 empty] | Armax | 220kv Otha | 12° | Fixed Tilt | Renew Green (GJ Six ) Pvt. Ltd_SPV 6 Renew Green (GJ Seven ) Pvt. Ltd_SPV 7 Renew Green (GJ Eight ) Pvt. Ltd_SPV 8 Renew Green (GJ nine ) Pvt. Ltd_SPV 9 | 21.17° N/71.89° E
|  |  | B2B | [11 empty] | TBEA | 209 | 42 | 8.778 |  | TBEA |  |  |  | Longi | 30.1753 | 55632 | [5 empty] | 27533 | 27374 | 725
|  |  | B2B | [11 empty] | TBEA | 208 | 54 | 11.232 |  | TBEA |  |  |  | Goldi | 2.2658 | 4196 | [6 empty] | 4196
GJ | 81 | Otha_Ph3 | B2B | 40.1 | 56.14 | 42.1114 | 75.01% | Under Stabilization | 2023-06-18 | Self | No |  |  |  | TBEA | 220 | 99 | 21.78 | String Inverters | TBEA | 139 | String Inventer | Mono Perc | JA Solar | 17.9303 | 32858 |  |  |  |  | 4530 | 28328 | [62 empty] | Armax | 66kv Pithalpur | 12° | Fixed Tilt | Renew Green (GJ Ten ) Pvt. Ltd_SPV 10 Renew Green (GJ Eleven ) Pvt. Ltd_SPV 11 | 21.25° N/72.04° E
|  |  | B2B | [11 empty] | TBEA | 209 | 19 | 3.971 |  | TBEA |  |  |  | Vikram Solar | 1.4834 | 2718 |  |  |  |  | 1564 |  | 1154
|  |  | B2B | [11 empty] | TBEA | 208 | 21 | 4.368 |  | TBEA |  |  | Bifacial Crystalline | JA Solar | 22.6921 | 41739 | [5 empty] | 30610 | 11129
RJ | 82 | Amazon_Merchant | B2B | 200 | 284.88 | 283.263 | 99.43% | Under Stabilization | 2024-05-18 | Self | No |  |  |  | WattPower | 275 | 956 | 262.9 | String Inverters | Watt Power | 956 | String Inverters | Bifacial Crystalline | Longi | 125.3611 | 231282 | [5 empty] | 100106 | 124838 | 6338 | [60 empty] | Greenwave Solutions | 220/400 KV PGCIL Fatehgarh-3 | 16° | Fixed Tilt | ReNew Surya Pratap Pvt. Ltd | 26.33°N/71.07°E
|  |  | B2B | [19 empty] | Bifacial Crystalline | JA Solar | 119.7736 | 220158 |  |  |  |  | 19504 | 138656 | 61998
|  |  | B2B | [19 empty] | Mono Perc | ReNew | 39.3363 | 66300 |  |  | 43860 | 22440